The City of Benton Water Department is publishing the annual Consumer Confidence Report for calendar year 2018.  The report indicates The Benton Water department had no violations, and met all EPA requirements during 2018.

The CCR will not be mailed to customers.  However, copies will be available to anyone wishing to obtain one.  The CCR may be picked up at the water department office in City Hall, located at 1403 S MAIN Street, Benton, IL.

Benton's Annual Drinking Water Quality Report

BENTON

IL0550050

Annual Water Quality Report for the period of

January 1, 2018 to December 31, 2018.

This report is intended to provide you with important

information about your drinking water and the efforts

made by the water system to provide safe drinking

water.

The source of drinking water used by

BENTON is Purchased Surface Water

For more information regarding this report contact:

Water Superintendent Craig Miles at phone

number 618-439-6131.

Este informe contiene informacio'n muy importante sobre

elagua que usted bebe.  Tradu'zcalo o' hable con alguien

que lo entienda bien.

Source of Drinking Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pickup substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff and septic systems.

Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA's Safe Drinking Water Hotline at (800) 426-4791.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Some people may be more vulnerable to contaminants in drinking water than the general population.

Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems.  especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  We cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at  http://www.epa.gov/safewater/lead.

Source Water Information

Source Water Name:  CC02 - Benton Master Meter  FF IL0555100 TP02

Type of Water:  SW

Report Status

Location:  NE CORNER GRAND & COPPLE ST

Source Water Assessment

Source of Water;Rend Lake Inter-City Water System

Illinois EPA considers all surface water sources of public water supply to be susceptible to potential pollution problems.  Hence the reason for mandatory treatment of all public water supplies in Illinois.  Mandatory treatment includes coagulation, sedimentation, filtration and disinfection.  Primary sources of pollution in Illinois lakes can include agricultural runoff, land disposal (septic systems) and shoreline erosion.

We want our valued customers to be informed about their water quality.  If you would like to learn more, please feel welcome to attend any of our regularly scheduled meetings on the second and fourth Monday's of the month.  The source water assessment for our supply has been completed by the Illinois EPA.  If you would like a copy of this information, please stop by City Hall or call our water superintendent at 618-439-6131.  To view a summary version of the completed Source Water Assessment, including: Importance of Source Water; Susceptibility to Concentration Determination; and documentation / recommendation of Source Water Protection Efforts, you may access the Illinois EPA website at http://www.epa.state.il.us/cgi-bin/wp/swap-fact-sheets.pl.

2018   Regulated Contaminants Detected

Lead and Copper

Definitions:

Action Level Goal (ALG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  ALGs allow for a margin of safety.

Action Level:  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Lead and   Date         MCLG  Action  90th           # Sites  Units  Violation  Likely Sources of

Copper      Sampled                 Level   Percentile  over                                  Contamination

(AL)                       AL

Lead          7/24/             0          15          0                1           ppb          N        Corrosion of household

2014                                                                                                    plumbing systems: Erosion

of natural deposits.

Water Quality Test Results

Definitions;The following tables contain scientific terms and measures,some of which may require explanation.

Level 1 assesment; A level 1 assessment is a study of the water system to identify potential problems and determine (if possible)why total coliforms bacteria have been found in our water system.

Level 2 assessment; a level 2 is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occured and/or why total coliform bacteria have been found in our water system on multiple occations.

Maximum Contaminant Level Goal or MCLG:  The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Contaminant Level or MCL:               The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum residual disinfectant level

goal or MRDLG:                                                      The level of drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefit of the use of disinfectants to control microbial contaminants.

Maximum residual disinfectant level or

MRDL:                                                                       The highest level of disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Definitions:                                                                 The following tables contain scientific terms and measures, some of which may require explanation.

ppb:                                                                              micrograms per liter or parts per billion - or one ounce in 7,350,000 gallons of water.

na:                                                                                 not applicable.

Avg.:                                                                              Regulatory compliance with some MCLs are based on running annual average of monthly samples.

ppm:                                                                               milligrams per liter or parts per million - or one ounce in 7,350 gallons of water.

Treatment Technique or TT. A required prossess intended to reduce the level of a contaminant in our drinking water.

Regulated Contaminants

Disinfectants        Collection  Highest   Range of   MCLG   MCL   Units  Violation  Likely Source of

and Disinfection   Date           Level       Levels                                                               Contamination

By-Products                            Detected  Detected

Chloamines         12/31/2018       3          3-3.2        MRDLG-4 MRDL-4      N      Water additive used to

control microbes.

Haloacetic

Acids (HAA5)*        2018           22       14.1-28       No goal    60        ppb    N            By-product of

for the                                           drinking water

total                                               disinfection.

Total                         2018           41       24.2-58.3        No goal    80       ppb     N           By-product of

Trihalomethanes                                                           for the                                          drinking water

(TTHM)                                                                         total                                              disinfection.

Rend Lake Intercity Water

Regulated Contaminants

Lead and copper

Definitions:

Action Level Goal (ALG):  The level of a contaminant in drinking water below which there is no

known or expected risk to health.  ALGs allow for a margin of safety.

Action Level:  The concentration of a contaminant which, if exceeded, triggers treatment or other

requirements which a water system must follow.

Lead and    Date        MCLG    Action  90th          # Sites   Units  Violation  Likely Sources of

Copper       Sampled                  Level   Percentile   over                                 Contamination

(AL)                         AL

Lead             2018           0            15          34.6              2         ppb          N       Corrosion of household

plumbing systems:

Erosion of natural

deposits.

Disinfectants and   Collection   Highest    Range of   MCLG   MCL   Units   Violation  Likely

Disinfection By-         Date         Level        Levels                                                                Sources of

Products                                      Detected   Detected                                                           Contamination

Chloramines           12/31/2018        3        2.8-3.2      MRDLG-4 MRDL-4  ppm   N  Water additive

used to

control

microbes.

Chlorite                      2018       0.51        0.11-0.51     0.8            1          ppb          N          By-product

of drinking

water

disinfection.

Haloacetic                  2018       20            14.8-22.6      No goal   60       ppb          N           By-product

Acids(HAA5)                                                                   for the                                             drinking water

total                                                  disinfection.

Total                           2018        35            24.9-44.7      No goal   80        ppb           n           By-product

Trihalomethanes                                                             for the                                             drinking water

(TTHM)                                                                           total                                                 disinfection.

Inorganic            Collection     Highest     Range of     MCLG   MCL   Units   Violation Likely

Contaminants        Date           Level         Levels                                                                 Sources of

Detected    Detected                                                             Contamination

Arsenic                   2018                 1       0.999-0.999           0         10        ppb            N     Erosion of

natural deposits;

Runoff from

orchards;

Runoff from

glass and

electronics

production

wastes.

Barium                   2018           0.0148  0.0148-0.0148        2          2         ppm           N    Discharge of

drilling wastes;

Discharge from

metal refineries;

Erosion of

natural deposits.

Fluoride                 2018               0.6      0.614-0.614           4         4.0       ppm          N    Erosion of

natural deposits;

Water additive

which promotes

strong teeth;

Discharge from

fertilizer and

aluminum

factories.

Nitrate                   2014           0.113       0.113-0.113          10        10        ppm          N    Runoff from

[measured as                                                                                                                          fertilizer use;

Nitrogen]                                                                                                                                Leaching from

septic tanks,

sewage; Erosion

of natural

deposits.

Sodium                2018             20            19700-19700                                     ppm           N    Erosion from

naturally

occuring

deposits: Used

in water

softener

regeneration.

Radioactive      Collection  Highest     Range of            MCLG   MCL   Units  Violation  Likely Source

Contaminants      Date        Level        Levels                                                                         of

Detected   Detected                                                                    Contamination.

Combined           1/16/          0.26         0.26-0.26                 0            5       pCi/L          N       Erosion of

Radium               2014                                                                                                                natural

226/228                                                                                                                                       deposits.

Synthetic            Collection  Highest    Range of            MCLG    MCL   Units Violation  Likely Source

Organic                Date          Level       Levels                                                                         of

Contaminants                       Detected  Detected                                                                    Contamination.

including

pesticides and

herbicides

Atrazine                2017          0.37         0-0.37                      3             3         ppb          N     Runoff from

herbicide used

on row crops.

Turbidity

Limit (Treatment       Level              Violation      Likely Source of

Technique)                  Detected                              Contamination

Highest Single Measurement           1 NTU                  0.32 NTU             N            Soil runoff

Lowest monthly %                           0.3 NTU                100%                   N            Soil runoff

meeting limit

Information Statement:  Turbidity is a measurement of the cloudiness of the water caused by suspended particles.  We monitor it because it is a good indicator of water quality and the effectiveness of our filtration system and disinfectants.

Total Organic Carbon

The percentage of Total Organic Carbon (TOC) removal was measured each month and the system met all TOC removal requirements set, unless a TOC violation is noted in the violation section.

Violations Table

Chlorite

Some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous system effects. Similar effects may occur in fetusus of pregnant women who drink water containing chlorite in excess of the MCL. Some people may experience anemia.

Violation Type                              Violation begin                   Violation end

Monitoring,Routine (DBP) , Major